{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":61,"n_cols":25,"rows_kept":61,"merged":[[0,0,0,24],[1,0,1,24],[60,19,60,20]],"flags":["formulas_cached_only"]}
["晨鸣集团3-4月份电缆备件计划招标清单"]
["    *请注明报价币种（人民币报价，含17%税、含到各晨鸣子公司运费*   *报价1天之内回传，谢谢*    *包装方式严格按照行业标准*"]
["序号","提报公司",null,null,"采购申请","物料编号","物料描述",{"$nulls":3},"子公司",null,"单位",{"$nulls":6},"数量","单价","金额","货期","车间确认","联系方式"]
[1,"湛江",null,null,10008954,"CDL01349","行走电缆H07VVH6-F 4G16",{"$nulls":3},"湛江",null,"米",{"$nulls":6},2000,{"$nulls":3},"方国敬",13560538195]
[2,"湛江",null,null,10008954,"CDL01350","行走电缆H07VVH6-F 4G6",{"$nulls":3},"湛江",null,"米",{"$nulls":6},2000,{"$nulls":3},"方国敬",13560538195]
[3,"湛江",null,null,10008953,"CDL01008","电力电缆ZRA-YJV-0.6/1KV  3*95+2*50",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1200,{"$nulls":3},"陈健峰",15219270571]
[4,"湛江",null,null,10008951,"CDQ01811","单股铜芯导线 BV2.5平方",{"$nulls":3},"湛江",null,"米",{"$nulls":6},500,{"$nulls":3},"桑林",13420155553]
[5,"湛江",null,null,10008951,"CDL13022","动力电缆ZR-BPYJVP  2*1.0 1KV ",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"桑林",13420155553]
[6,"湛江",null,null,10008951,"CDL13023","动力电缆ZR-BPYJVP 4*2.5 1KV ",{"$nulls":3},"湛江",null,"米",{"$nulls":6},2000,{"$nulls":3},"桑林",13420155553]
[7,"湛江",null,null,10008980,"CDL39034","电力电缆VVR-1KV-4*4 M²",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"戴景平",13560549697]
[8,"湛江",null,null,10008980,"CDL01052","动力电缆ZRA-YJV-1KV 4*2.5",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"戴景平",13560549697]
[9,"湛江",null,null,10008986,"CDL01199","耐高温电缆THF46-300 4*2.5",{"$nulls":3},"湛江",null,"米",{"$nulls":6},3000,{"$nulls":3},"桑林",13420155553]
[10,"湛江",null,null,10008986,"CDL01193","电缆 ZR-YJV 4*4",{"$nulls":3},"湛江",null,"米",{"$nulls":6},2000,{"$nulls":3},"桑林",13420155553]
[11,"湛江",null,null,10008986,"CDL27094","电缆 ZR-YJV 4*16",{"$nulls":3},"湛江",null,"米",{"$nulls":6},2000,{"$nulls":3},"桑林",13420155553]
[12,"湛江",null,null,10008991,"CDL04010","电缆ZR-YJV-1KV-4*2.5",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"陈健峰",15219270571]
[13,"湛江",null,null,10008991,"CDL01044","电缆ZRA-YJV-1kv 3*35+1*16",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"陈健峰",15219270571]
[14,"湛江",null,null,10008991,"CDL55048","电缆ZRA-YJV-1KV 3*70+2*35",{"$nulls":3},"湛江",null,"米",{"$nulls":6},1000,{"$nulls":3},"陈健峰",15219270571]
[15,"江西",null,null,10000772,"CDL01086","电缆ZR-YJV-1KV 3X70+1X35",{"$nulls":3},"江西",null,"米",{"$nulls":6},300,{"$nulls":3},"唐斌",13807045921]
[16,"江西",null,null,10000772,"CDL01270","耐高温电缆多芯单股4mm2",{"$nulls":3},"江西",null,"米",{"$nulls":6},100,{"$nulls":3},"王超",13755682620]
[17,"江西",null,null,10000772,"CDL03014","电缆ZR-YJV-1KV 3X25+1X16",{"$nulls":3},"江西",null,"米",{"$nulls":6},300,{"$nulls":3},"唐斌",13807045921]
[18,"江西",null,null,10000772,"CDL27061","耐高温电缆ZR-FGPR-1KV 4X2.5",{"$nulls":3},"江西",null,"米",{"$nulls":6},500,{"$nulls":3},"唐斌",13807045921]
[19,"江西",null,null,10000919,"CDL55057","电缆ZR-YJV-1KV 3*35+1*16",{"$nulls":3},"江西",null,"米",{"$nulls":6},500,{"$nulls":3},"唐斌",13807045921]
[20,"江西",null,null,10000919,"CDL00023","电缆ZR-YJV 3*50+1*25",{"$nulls":3},"江西",null,"米",{"$nulls":6},500,{"$nulls":3},"唐斌",13807045921]
[21,"江西",null,null,10000919,"CDL01193","电缆ZR-YJV 4*4",{"$nulls":3},"江西",null,"米",{"$nulls":6},1000,{"$nulls":3},"唐斌",13807045921]
[22,"江西",null,null,10000919,"CDL01192","电缆ZR-YJV 4*6",{"$nulls":3},"江西",null,"米",{"$nulls":6},1000,{"$nulls":3},"唐斌",13807045921]
[23,"白卡纸",null,null,10008936,"CDQ01811","单股铜芯线BV2.5（要求每盘100米）",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"杨辉","13964649665"]
[24,"白卡纸",null,null,10008936,"CDQ01812","单股铜芯线BV4.0（要求每盘100米）",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"杨辉","13964649665"]
[25,"热敏纸",null,null,10008965,"CDL00013","低压电缆ZR-YJV-1KV  4*4",{"$nulls":3},"山东",null,"米",{"$nulls":6},500,{"$nulls":3},"武海鹏",18765368065]
[26,"热敏纸",null,null,10008965,"CDL11021","电缆ZR-RVS2*1.0(带屏蔽层）",{"$nulls":3},"山东",null,"米",{"$nulls":6},1000,{"$nulls":3},"武海鹏",18765368065]
[27,"新闻纸",null,null,10008965,"CDL00035","低压电力电缆3*4+1*2.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},700,{"$nulls":3},"王光志",13791612721]
[28,"新闻纸",null,null,10008965,"CDL03034","低压电缆3*95+1*70",{"$nulls":3},"山东",null,"米",{"$nulls":6},400,{"$nulls":3},"王光志",13791612721]
[29,"新闻纸",null,null,10008965,"CDL06038","电缆RVVP2*1.0",{"$nulls":3},"山东",null,"米",{"$nulls":6},3000,{"$nulls":3},"王光志",13791612721]
[30,"白卡纸",null,null,10008965,"CDL01054","电缆YJVR2*4",{"$nulls":3},"山东",null,"米",{"$nulls":6},700,{"$nulls":3},"韩春友",13695360838]
[31,"白卡纸",null,null,10008965,"CDL06007","电缆RVV3*4+1*2.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},500,{"$nulls":3},"韩春友",13695360838]
[32,"环保公司",null,null,10008965,"CDL01108","电缆YC3*25",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"史永胜","18765120616"]
[33,"轻涂纸",null,null,10008965,"CDL03004","电缆RVV3*2.5+1*1.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"刘强",13455692358]
[34,"轻涂纸",null,null,10008965,"CDL04009","电缆ZR-DJYJPVPR 2*2*1.0",{"$nulls":3},"山东",null,"米",{"$nulls":6},500,{"$nulls":3},"贾乐春",15095290255]
[35,"轻涂纸",null,null,10008965,"CDL55037","电缆YJV-1KV 3*50+1*25",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"刘强",13455692358]
[36,"铜版纸工厂",null,null,10008965,"CDL05015","计算机电缆ZR-DJYJPVPR  3×2×1.0",{"$nulls":3},"山东",null,"米",{"$nulls":6},1000,{"$nulls":3},"王志强",15966168203]
[37,"寿光晨鸣",null,null,10008965,"CDL06003","电缆RW3*1.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"董永亮",13963617057]
[38,"造纸助剂",null,null,10008965,"CDL27098","屏蔽控制电缆ZRA-KVVRP 2*2*1.0",{"$nulls":3},"山东",null,"米",{"$nulls":6},2000,{"$nulls":3},"单仪敏",15069675709]
[39,"造纸助剂",{"$nulls":3},"CDL01160","屏蔽控制电缆ZRA-KVVRP 1*2*1.0",{"$nulls":3},"山东",null,"米",{"$nulls":6},1200,{"$nulls":3},"单仪敏",15069675709]
[40,"寿光晨鸣工务公司",{"$nulls":3},"CDL01011","电焊机线YH-50平方",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"刘凤波",15966135551]
[41,"寿光晨鸣工务公司",{"$nulls":3},"CDL01011","电焊机线YH-50平方",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"孙国福",13583635355]
[42,"铜版纸工厂",{"$nulls":3},"CDL01011","电焊机线YH-50平方",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"锡泮义",15054439278]
[43,"新闻纸",{"$nulls":3},"CDL01093","铜芯软电缆FVFR1*240mm2 1000v",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"王光志",13791612721]
[44,"热敏纸",{"$nulls":3},"CDL27061","耐高温电缆ZR-FGPR-1KV  4*2.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},500,{"$nulls":3},"武海鹏",18765368065]
[45,"寿光晨鸣",{"$nulls":3},"CDL03007","电缆3X4+1X2.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},2000,{"$nulls":3},"李永",15966089557]
[46,"寿光晨鸣",{"$nulls":3},"CDL55076","10KV电力电缆ZRC-YJV22-10KV-3×95",{"$nulls":3},"山东",null,"米",{"$nulls":6},350,{"$nulls":3},"李永",15966089556]
[47,"美伦铜版纸",{"$nulls":3},"CDL01202","橡套电缆YC-1KV 4*4",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"吴明才","15064618100"]
[48,"美伦铜版纸",{"$nulls":3},"CDL04003","电缆KVVRP 4*2.5(软线)",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"赵凯",13884820696]
[49,"美伦铜版纸",{"$nulls":3},"CDL27039","电缆KVVPR 7*1.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"赵凯",13884820696]
[50,"环保公司",{"$nulls":3},"CDL03033","电缆RVV3*25+1*16",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"史永胜","18765120616"]
[51,"环保公司",{"$nulls":3},"CDL06007","电缆RVV3*4+1*2.5",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"史永胜","18765120616"]
[52,"轻涂纸工厂",{"$nulls":3},"CDL05011","电缆YJVP3*95+1*70",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"刘强",13455692358]
[53,"轻涂纸工厂",{"$nulls":3},"CDL27062","耐高温电缆KFPF-200 4*1.0MM（A）",{"$nulls":3},"山东",null,"米",{"$nulls":6},200,{"$nulls":3},"贾乐春",15095290255]
[54,"美伦铜版",null,null,"报告",null,"变频电缆3*185+3*35",{"$nulls":3},"山东",null,"米",{"$nulls":6},300,{"$nulls":3},"宋江彦",13792648611]
[55,"现代物流",null,null,"报告",null,"动力电缆ZR-YJV-3*120+2*70",{"$nulls":3},"山东",null,"米",{"$nulls":6},350,{"$nulls":3},"李跃武",15069682808]
[{"$nulls":6},"合计：",{"$nulls":12},44000]
["公司名称/注册资金："]
["联系方式/付款方式："]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}