{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["4月份计划"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"4月份计划","index":0,"n_rows":55,"n_cols":10,"rows_kept":55,"merged":[[0,0,0,9]],"flags":["formulas_cached_only"]}
["备件询价单"]
["序号","提报公司","采购申请号","物料编号","物料描述","单位","数量","单价","金额","货期"]
[1,"六万方中段水",null,null,"电缆线YZ  2*2.5","米",200]
[2,"热电",null,null,"三芯高压电缆  ZR-YJV22-6KV-3*120m㎡","米",700]
[3,"二厂",10007225,"CDL01011","电焊机线YH-50平方","米",200]
[4,"美伦白牛卡",10007225,"CDL12001","电缆ZR-YJV 3*70+2*35","米",400]
[5,"环保公司",10007225,"CDL03004","塑套软电缆RVV 3*2.5+1*1.5","米",300]
[6,"寿光板材",null,null,"屏蔽信号软电缆 KVVRP-8*0.3mm2 要求：总屏蔽","米",500]
[7,"寿光板材",null,null,"单芯电缆BV-1*10mm2","米",150]
[8,"水泥厂",null,null,"电缆RVV4*2.5mm²","米",400]
[9,"水泥厂",null,null,"电缆，KVV，6*1mm²","米",200]
[10,"水泥厂",null,null,"电缆，YZ/2*1.5mm²","米",200]
[11,"水泥厂",null,null,"电缆，YZ/3*2.5mm²","米",200]
[12,"水泥厂",null,null,"屏蔽软电缆，DJYVP2R,3*1mm²，对绞","米",100]
[13,"水泥厂",null,null,"软护套线，2*1.5mm²","米",200]
[14,"水泥厂",null,null,"花色软电线（绞型）RVS/2*0.75mm²","米",200]
[15,"水泥厂",null,null,"信号控制缆RVV8*0.75mm²/8花色线","台",100]
[16,"建材",null,null,"电缆，VV/YJV/0.6/1kV，3*2.5mm²+1*1.5mm²","米",100]
[17,"建材",null,null,"电缆，YZ/3*2.5mm²","米",100]
[18,"建材",null,null,"软护套线，2*1.5mm²","米",100]
[19,"环保公司","Z45",null,"电缆 ZR-YJV-1KV 4*2.5","米",600]
[20,"富裕",null,"CDL27051","动力电缆 VV 0.6KV  4*2.5mm2","米",160]
[21,"富裕",null,"CDL38027","硅橡胶防冻电缆YGZ4*1.0mm2","米",100]
[22,"富裕",null,"CDL38027","多芯软电缆BVV2*1.5m2","米",200]
[23,"富裕",null,"CDQ01811","平行电线BV2*2.52","米",100]
[24,"江西",null,"CBDL0112","控制电缆VV4*1.0 带屏蔽","米",500]
[25,"江西",null,"CDL069006","单股铜芯线1.5mm² 100米/卷","米",500]
[26,"江西",null,"CDL069001","单股铜芯线2.5mm² 100米/卷","米",500]
[27,"江西",null,"CDL069002","单股铜芯线4mm² 100米/卷","米",500]
[28,"延边",20130320,"CBDL0112","控制电缆2*0.75","米",600]
[29,"延边",20130320,"CBDL015","电力电缆3*4+1*2.5","米",500]
[30,"延边",20130320,"CBDL0116","控制电缆4*0.75","米",100]
[31,"延边",20130320,"CBDL0119","控制电缆VV4*1.0","米",500]
[32,"湛江",null,"CDQ01P32","电缆ZR-RVS 4*4","米",3000]
[33,"武汉","D1302008","WHZCDQ1275","BVVB铜芯护套线2*2.5mm   100M/卷  芯线并排，成型后为扁状 ","米",100]
[34,"武汉","D1302009","CBDL0126","BVVB铜芯护套线2*1.5mm  100m/卷  芯线并排，成型后为扁状","米",100]
[35,"武汉","D1302010","CBDL0128","铜芯护套线BVVB 3*4  100M/卷   红、黑、黄绿双色  芯线并排，成型后为扁状","米",300]
[36,"江西",null,"CDL01002","多股橡皮电缆，YCW3*4mm２","米",100]
[37,"江西",null,"CDQ01026","橡皮电缆线，YCW2*1.5mm2","米",100]
[38,"延边","20130220G","CDQ01811","单股铜芯线BV2.5mm2","米",300]
[39,"延边","20130220G","CDQ01812","单股铜芯线BV4mm2","米",100]
[40,"延边","20130220G","CDQ03197","单股铜芯线BV6mm2","米",100]
[41,"延边","20130220G","CDQ01811","单股铜芯线BV1.0mm2","米",100]
[42,"延边","20130220G","CDQ01811","单股铜芯线BV1.5mm2","米",100]
[43,"延边","20130220G","CDQ27046","屏蔽线 ZRRVVP2*1.5mm2","米",500]
[44,"延边","20130220G","CDQ27046","屏蔽线 ZRRVVP2*1.0mm2","米",200]
[45,"延边","20130220G","CDQ27046","屏蔽线 ZRRVVP4*1.5mm2","米",300]
[46,"延边","20130220G","CBDL0112","控制电缆VV4*1.0","米",500]
[47,"延边","20130220K","CDL02002","两芯橡胶软电缆.YHD 2*1.5 ","米",100]
[48,"四厂",10007212,"CDL06001","电缆ZR-YJV-1KV2×6","米",400]
[49,"五厂",10007212,"CDL01011","电焊机线YH-50平方","米",200]
[50,"白牛卡纸工厂",10007212,"CDL27022","铜丝屏蔽电缆　KVVRP2*1.0","米",1000]
[51,"白牛卡纸工厂",10007212,"CDL27069","控制电缆ZR-KVVPR 0.75KV 5*2.5","米",1000]
[52,"晨鸣机械",10007212,"CDL01011","电焊机线  YH-50平方","米",200]
[53,"寿光板材",null,null,"电缆 VV4*2.5mm2","米",300]