{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":68,"n_cols":9,"rows_kept":68,"merged":[[0,0,0,8],[63,0,63,8]],"flags":["formulas_cached_only"]}
["武汉晨鸣汉阳纸业环保迁建技术改造项目电缆清单"]
["序号","名    称","型  号  及  规  格\n电缆截面单位：mm2","单位","数量","备      注","单价","金额","货期"]
[1,"10KV高压电力电缆","ZRA-YJV-10kV 1x400","米",6000,"500m/盘"]
[2,"10KV高压电力电缆","  ZRA-YJV22-10kV 3x150","米",140]
[3,"10KV高压电力电缆","ZRA-YJV-10kV 3x120","米",700]
[4,"10KV高压电力电缆","ZRA-YJV-10kV 3x95","米",460," "]
[1,"变频器专用电缆","ZR-BPYJVP-1.8KV,3x120+3x25","米",520]
[2,"变频器专用电缆","ZR-BPYJVP-1.8KV,3x95+3x16","米",2900]
[3,"变频器专用电缆","ZR-BPYJVP-1.8KV,3x25+3x4","米",290]
[4,"变频器专用电缆","ZR-BPYJVP-1.8KV,3x10+3x1.5","米",200]
[5,"变频器专用电缆","ZRA-YJVP-1kV 3x150+3x25","米",600]
[6,"变频器专用电缆","ZRA-YJVP-1kV 3x120+3x25","米",590]
[7,"变频器专用电缆","ZRA-YJVP-1kV 3x95+3x16","米",200]
[8,"变频器专用电缆","ZRA-YJVP-1kV 3x70+3x10","米",200]
[9,"变频器专用电缆","ZRA-YJVP-1kV 3x35+3x6","米",500]
[10,"变频器专用电缆","ZRA-YJVP-1kV 3x10+3x4","米",250]
[11,"变频器专用电缆","ZRA-YJVP-1kV 3x4+3x1.5","米",200]
[12,"变频器专用电缆","ZRA-YJVP-1kV 3x2.5+3x0.75","米",1000]
[13,"交联电力电缆","ZR-YJV22-1kV 4x240","米",980]
[14,"交联电力电缆","ZRA-YJV-1kV ，3x185+2x95","米",1600]
[15,"交联电力电缆","ZRA-YJV-1kV 3x150+2x70  ","米",350]
[16,"交联电力电缆","ZRA-YJV-1kV， 3x120+2x70","米",800]
[17,"交联电力电缆","ZAN-YJV-1kV 3x120+2x70  ","米",300,"耐火"]
[18,"交联电力电缆","ZRA-YJV-1kV 3x95+1x50  ","米",500]
[19,"交联电力电缆","ZRA-YJV-1kV 3x95+2x50  ","米",350]
[20,"交联电力电缆","ZRA-YJV-1kV， 3x70+2x35","米",1600]
[21,"交联电力电缆","ZRA-YJV-1kV ，3x50+2x25","米",1000]
[22,"交联电力电缆","ZRA-YJV-1kV， 4x50+1x25","米",900]
[23,"交联电力电缆","ZRA-YJV-1kV ，3x35+2x16","米",2200]
[24,"交联电力电缆","ZAN-YJV-1kV 3x35+2x16  ","米",1100,"耐火"]
[25,"交联电力电缆","ZRA-YJV-1kV， 3x25+2x16","米",1200]
[26,"交联电力电缆","ZRA-YJV-1kV 3x25+1x16  ","米",1200]
[27,"交联电力电缆","ZRA-YJV-1kV， 5x16","米",2500]
[28,"交联电力电缆","ZAN-YJV-1kV 5x16","米",200,"耐火"]
[29,"交联电力电缆","ZRA-YJV-1KV, 4x16 ","米",750]
[30,"交联电力电缆","ZAN-YJV-1kV 5x10","米",450,"耐火"]
[31,"交联电力电缆","ZRA-YJV-1kV ，5x10","米",900]
[32,"交联电力电缆","ZRA-YJV-1kV 4x10","米",600]
[33,"交联电力电缆","ZRA-YJV-1kV， 5x6","米",1300]
[34,"交联电力电缆","ZRA-YJV-1kV， 5x4","米",950]
[35,"交联电力电缆","ZRA-YJV-1kV 4x4","米",2200]
[36,"交联电力电缆","ZRA-YJV-1KV, 4x2.5 ","米",10000]
[1,"计算机专用电缆","ZRA-DJYP3VP3R-750V, 24x1.0","米",4400," "]
[2,"计算机专用电缆","    ZRA- DJYP3VP3R-750V， 2x1.0","米",15200," "]
[3,"控制电缆","ZRA-RVV-750V,7X1.5","米",1500," "]
[4,"控制电缆","ZRA-RVVP-750V,5X1.5","米",3300," "]
[5,"控制电缆","ZRA-RVVP-750V,3X1.5","米",4000," "]
[6,"控制电缆","ZRA-LiYCY(TP)-750V,3x(2*1.0)","米",1200,"编码器专用电缆"]
[7,"控制电缆","ZRA-RVVP-750V, 10x1.0 ","米",1000]
[8,"控制电缆","ZRA-RVVP-750V, 3x1.0 ","米",3500]
[9,"控制电缆","ZRA-RVV-750V, 3x1.5 ","米",4000]
[10,"控制电缆","ZRA-KVVRP-750V， 4x1.0","米",3500," "]
[11,"控制电缆","ZRA-KVVR-750V， 3x1.5","米",3200," "]
[12,"控制电缆","ZRA-KVVRP-750V， 3x2.5","米",400," "]
[13,"控制电缆","ZR-KFVRP-750V,18x1.5","米",1800," 耐高温250℃"]
[14,"控制电缆","ZR-F46F46P-1R-750V，2x1.0","米",5500," 耐高温250℃"]
[15,"控制电缆","ZR-KFVRP-750V,5x1.5","米",1200," 耐高温250℃"]
[16,"控制电缆","ZR-KFVRP-750V,7x1.5","米",550," 耐高温250℃"]
[17,"控制电缆","ZR-KFVR-750V,3x1.5","米",300," 耐高温250℃"]
[18,"控制电缆","ZR-KFVR-750V,3x2.5","米",600," 耐高温250℃"]
[19,"接地电缆","BVR-1kV,1x50 黄绿线","米",1500]
[20,"接地电缆","BVR-1kV,1x16 黄绿线","米",800]
[21,"接地电缆","BVR-1kV,1x6 黄绿线","米",200]
["价格总计："]
[]
[null,"报价人/电话："]
[null,"报价单位："]
[null,"报价时间："]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}