{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["E1E3E5电缆电线"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"E1E3E5电缆电线","index":0,"n_rows":73,"n_cols":9,"rows_kept":73,"merged":[[0,0,0,8],[5,8,8,8],[11,8,15,8],[68,0,68,8]],"flags":["formulas_cached_only"]}
["晨鸣广源地产物资计划采购表"]
["序号","物资类别","物料描述（含名称、规格型号及材质等）","计量单位","采购数量","单价","金额","货期","备注"]
[1,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-5*6","米",338]
[2,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-5*4","米",632]
[3,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-5*16","米",990]
[4,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-4*185","米",400,{"$nulls":3},"室外电缆，未出图纸，约计数量"]
[5,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-4*35","米",580]
[6,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-4*95","米",500]
[7,"电缆","铜芯交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆YJV-4*95","米",1480]
[8,"电缆","铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆YJV-3*16","米",720]
[9,"电缆","铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆YJV-3*10","米",7400]
[10,"电缆","阻燃型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆ZR-YJV-5*10","米",230]
[11,"电缆","阻燃型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆ZR-YJV-5*6","米",130]
[12,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-5*10","米",1600]
[13,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-3*50+2*25","米",61]
[14,"电缆","耐火型铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆NH-YJV-3*25+2*16","米",680]
[15,"电缆","防水电缆4*4","米",31]
[16,"电缆","防水电缆4*1.5","米",16]
[17,"电缆","防水电缆4*2.5","米",150]
[18,"电线","铜芯聚氯乙烯绝缘电线BV4(红色)","米",9300,{"$nulls":3},"200米一盘"]
[19,"电线","铜芯聚氯乙烯绝缘电线BV4(绿色)","米",9300,{"$nulls":3},"200米一盘"]
[20,"电线","铜芯聚氯乙烯绝缘电线BV4(黄色)","米",9300,{"$nulls":3},"200米一盘"]
[21,"电线","铜芯聚氯乙烯绝缘电线BV4(双色)","米",27800,{"$nulls":3},"200米一盘"]
[22,"电线","铜芯聚氯乙烯绝缘电线BV4(蓝色)","米",27800,{"$nulls":3},"200米一盘"]
[23,"电线","铜芯聚氯乙烯绝缘电线BV10（红色）","米",700,{"$nulls":3},"200米一盘"]
[24,"电线","铜芯聚氯乙烯绝缘电线BV10（绿色）","米",700,{"$nulls":3},"200米一盘"]
[25,"电线","铜芯聚氯乙烯绝缘电线BV10（黄色）","米",700,{"$nulls":3},"200米一盘"]
[26,"电线","铜芯聚氯乙烯绝缘电线BV10（双色）","米",2100,{"$nulls":3},"200米一盘"]
[27,"电线","铜芯聚氯乙烯绝缘电线BV10（蓝色）","米",2100,{"$nulls":3},"200米一盘"]
[28,"电线","铜芯聚氯乙烯绝缘电线BV2.5（红色）","米",8600,{"$nulls":3},"200米一盘"]
[29,"电线","铜芯聚氯乙烯绝缘电线BV2.5（绿色）","米",8600,{"$nulls":3},"200米一盘"]
[30,"电线","铜芯聚氯乙烯绝缘电线BV2.5（黄色）","米",8600,{"$nulls":3},"200米一盘"]
[31,"电线","铜芯聚氯乙烯绝缘电线BV2.5（双色）","米",25700,{"$nulls":3},"200米一盘"]
[32,"电线","铜芯聚氯乙烯绝缘电线BV2.5（蓝色）","米",25700,{"$nulls":3},"200米一盘"]
[33,"电线","铜芯聚氯乙烯绝缘电线BV2.5（白色）","米",6000,{"$nulls":3},"200米一盘"]
[34,"电线","铜芯聚氯乙烯绝缘电线BV2.5（黑色）","米",6000,{"$nulls":3},"200米一盘"]
[35,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-2.5（红色）","米",3920,{"$nulls":3},"200米一盘"]
[36,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-2.5（绿色）","米",3920,{"$nulls":3},"200米一盘"]
[37,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-2.5（黄色）","米",3920,{"$nulls":3},"200米一盘"]
[38,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-2.5（双色）","米",12800,{"$nulls":3},"200米一盘"]
[39,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-2.5（蓝色）","米",12800,{"$nulls":3},"200米一盘"]
[40,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-16（黄色）","米",20,{"$nulls":3},"200米一盘"]
[41,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-16（红色）","米",20,{"$nulls":3},"200米一盘"]
[42,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-16（绿色）","米",20,{"$nulls":3},"200米一盘"]
[43,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-16（蓝色）","米",20,{"$nulls":3},"200米一盘"]
[44,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-16（双色）","米",20,{"$nulls":3},"200米一盘"]
[45,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-4（绿色）","米",740,{"$nulls":3},"200米一盘"]
[46,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-4（黄色）","米",740,{"$nulls":3},"200米一盘"]
[47,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-4（红色）","米",740,{"$nulls":3},"200米一盘"]
[48,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-4（蓝色）","米",2200,{"$nulls":3},"200米一盘"]
[49,"电线","耐火型铜芯聚氯乙烯绝缘电线NH-BV-4（双色）","米",2200,{"$nulls":3},"200米一盘"]
[50,"电缆","耐火型铜芯聚氯乙烯绝缘扁型聚氯乙烯护套软电线NH-RVV-7*1.5","米",900,{"$nulls":3},"（消防）"]
[51,"电缆","耐火型铜芯聚氯乙烯绝缘控制电缆NH-KVV-6×1.5","米",4000,{"$nulls":3},"（消防）"]
[52,"电缆","耐火型铜芯聚氯乙烯绝缘及护套屏蔽软电缆NH-RVVP-4×1.5","米",200,{"$nulls":3},"桥架至各楼（消防）"]
[53,"电缆","耐火型铜芯聚氯乙烯绝缘及护套屏蔽软电缆NH-RVVP-4×1.0","米",520,{"$nulls":3},"（消防）"]
[54,"电话六总线","耐火型铜芯聚氯乙烯绝缘扁型聚氯乙烯护套软电线NH-RVV6*1.5","米",200,{"$nulls":3},"200米一盘（消防）"]
[55,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV4(红色)","米",400,{"$nulls":3},"200米一盘（消防）"]
[56,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV4(蓝色)","米",400,{"$nulls":3},"200米一盘（消防）"]
[57,"电线","耐火型铜芯聚氯乙烯绝缘扁型聚氯乙烯护套软电线NH-RVV2×1.5","米",2200,{"$nulls":3},"200米一盘（消防）"]
[58,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV1.5(黄色)","米",1000,{"$nulls":3},"200米一盘（消防）"]
[59,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV1.5(绿色)","米",1000,{"$nulls":3},"200米一盘（消防）"]
[60,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV1.5(红色)","米",1000,{"$nulls":3},"200米一盘（消防）"]
[61,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV1.5(黑色)","米",1000,{"$nulls":3},"200米一盘（消防）"]
[62,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV2.5（红色）","米",200,{"$nulls":3},"200米一盘（消防）"]
[63,"电线","耐火型铜芯聚氯乙烯绝缘线NH-BV2.5（蓝色）","米",200,{"$nulls":3},"200米一盘（消防）"]
[64,"电线","耐火型铜芯聚氯乙烯绝缘双绞软线NH-RVS-4×1.5","米",1600,{"$nulls":3},"200米一盘（消防）"]
[65,"电线","耐火型铜芯聚氯乙烯绝缘双绞软线NH-RVS-2×1.5（红蓝）","米",10840,{"$nulls":3},"200米一盘（消防）"]
[66,"电线","耐火型铜芯聚氯乙烯绝缘双绞软线NH-RVS-2×1.5（红黑）","米",800,{"$nulls":3},"200米一盘（消防）"]
["价格总计："]
[]
[null,"报价人/电话："]
[null,"报价单位："]
[null,"报价时间："]