{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["7月份计划"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"7月份计划","index":0,"n_rows":46,"n_cols":11,"rows_kept":46,"merged":[[0,0,0,10],[43,0,43,10],[45,7,45,8]],"flags":["formulas_cached_only"]}
["改造用电缆询价单"]
["序号","提报公司","入库地点","采购申请号","物料编号","物料描述","单位","数量","单价","金额","货期"]
[1,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93449","电力电缆BPYJVP-0.6/1KV-4*16","米",280]
[2,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93450","电力电缆BPYJVP-0.6/1KV-3*25+1*16","米",690]
[3,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93451","电力电缆BPYJVP-0.6/1KV-3*95+1*50","米",280]
[4,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93289","电力电缆YJV-0.6/1KV-4*10","米",530]
[5,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93265","电力电缆YJV-0.6/1KV-4*2.5","米",280]
[6,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93448","电力电缆YJV-0.6/1KV-3*50+1*25","米",320]
[7,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93268","电力电缆YJV-0.6/1KV-4*4","米",290]
[8,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93275","电力电缆YJV-0.6/1KV-3*150+1*70","米",120]
[9,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93274","电力电缆YJV-0.6/1KV-3*120+1*50","米",150]
[10,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93252","电力电缆YJV-0.6/1KV-3*35+1*16","米",390]
[11,"富裕晨鸣","富裕晨鸣仓储",null,"CYB93413","电力电缆YJV-0.6/1KV-4*6","米",360]
[12,"富裕晨鸣","富裕晨鸣仓储",null,"CYB92301","控制电缆KVVRP-0.75KV-7*1.5","米",2100]
[13,"富裕晨鸣","富裕晨鸣仓储",null,"CYB94663","控制电缆KVVRP-0.75KV-17*1.5","米",800]
[14,"富裕晨鸣","富裕晨鸣仓储",null,"CYB94255","控制电缆RVVP 4×1.5mm²","米",900]
[15,"造纸助剂项目","A705",10007460," CDL01026","计算机电缆ZR-DJYPVRP 2X2X1","米",10000]
[16,"造纸助剂项目","A705",10007460,"CDL05019","计算机电缆 ZR-DJYJPVPR   4×2×1.5","米",950]
[17,"造纸助剂项目","A705",10007460,"CDL01172","电缆  ZR-DJYJP1VP1R      1×2×1.0","米",16000]
[18,"造纸助剂项目","A705",10007460,"CDL27053","电缆  ZR-KVVRP   3×1.5","米",4600]
[19,"造纸助剂项目","A705",10007460,"CDL55048","ZR-YJV-1KV    3*70+2*35","米",4700]
[20,"造纸助剂项目","A705",10007460,"CDL13021","ZR-YJVP-1KV    3*50+3*10","米",1000]
[21,"造纸助剂项目","A705",10007460,"CDL38017","ZR-YJV-1KV     3*50+1*25","米",2260]
[22,"造纸助剂项目","A705",10007460,"CDL55008","ZR-YJVP-1KV    3*35+3*6","米",1200]
[23,"造纸助剂项目","A705",10007460,"CDL13003","ZR-YJVP-1KV    3*16+3*4","米",1400]
[24,"造纸助剂项目","A705",10007460,"CDL02013","ZR-YCWBPP2-1KV   3*120+1*70","米",185]
[25,"造纸助剂项目","A705",10007460,"CDL38038","ZR-YJV-1KV  5*10","米",600]
[26,"造纸助剂项目","A705",10007460,"CDL39001","ZR-YJV-1KV  5*6","米",3600]
[27,"造纸助剂项目","A705",10007460," CDL01192","ZR-YJV-1KV  4*6","米",3000]
[28,"造纸助剂项目","A705",10007460,"CDL55016","ZR-YJV-1KV  4*4","米",9000]
[29,"五厂","A000",null,"CDL55020","电力电缆ZRA-YJV22-10KV 3*240","米",1200]
[30,"五厂","A000",null,"CDL01128","电力电缆ZR-YJV-10KV 3*95","米",700]
[31,"五厂","A000",null,"CDL38003","电力电缆ZR-YJV-0.6/1KV 3X120+1X70","米",1200]
[32,"五厂","A000",null,"CDL01086","动力电缆ZR-YJV-1KV 3*70+1*35","米",600]
[33,"五厂","A000",null,"CDL13008","变频电缆ZR-BPYJVP 3*185+1*95","米",1200]
[34,"五厂","A000",null,"CDL13009","变频电缆ZR-BPYJVP 3*25+1*16","米",300]
[35,"五厂","A000",null,"CDL03018","变频电缆ZR-BPYJVP3*50+1*25","米",400]
[36,"五厂","A000",null,"CDL27019","铜丝屏蔽软芯电缆KVVPR-12*1.0","米",1000]
[37,"五厂","A000",null,"CDL27039","控制电缆KVVPR-0.5KV 7*1.5","米",500]
[38,"五厂","A000",null,"CDL55027","电缆YJVP-1KV4*2.5","米",3000]
[39,"五厂","A000",null,"CDL27053","电缆KVVRP 3*1.5","个",4000]
[40,"五厂","A000",null,"CDL55036","电缆 ZRA-DJYPVPR  1×2×0.75","米",3000]
[41,"五厂","A000",null,"CDL02005","电缆 ZR-DJYJP1VP1R  2*2*0.75","个",3000]
["报价单位："]
["报价人及联系电话："]
["报价时间："]